## Slide 1: Installation Guide to Debugger Driver
McMaster Automotive Resource Centre (MARC)
Notes: HVBMS NXP Tutorials can be found for download from: https://mcmasteru365.sharepoint.com/:u:/r/sites/BatteryWorkforceChallenge-StudentsandManagers-SW2BMSSoftware/Shared%20Documents/SW2%20BMS%20Software/Resources/Archived%20Tutorials/Setting%20Up%20NXP/Tutorial%20-%20HVBMS%20NXP%201.zip?csf=1&web=1&e=RvlWkP This presentation is completed based on “Step 1 - Model_Based_Design_Toolbox_S32K3xx_Series_Quick_Start_Guide.pdf” file, which can be found from Tutorial - HVBMS NXP 1 > S32K - Model Based Design ToolBox after downloading the above .zip file.

## Slide 2: Installation Guide to Debugger Driver
Introduction to the USB Multilink Resources package
The USB Multilink Resources package supports the following probes:
USB Multilink ACP
Embedded Multilink ACP
USB Multilink Universal (all revisions)
USB Multilink Universal FX (all revisions)
Included Resources:
PEFirmwareConfig.exe utility
Technical summaries
Latest firmware updates
Additional support files
Debug Probes

## Slide 3: Installation Guide to Debugger Driver
Introduction to the USB Multilink Universal LC
The Multilink Universal LC is an all-in-one debug interface which accelerates the debug and flash programming process, saving valuable development time.
Provides access to debug modes on a wide range of NXP & other ARM Cortex microcontroller families by communicating between the target device, i.e., the MCU on the RD-K358BMU board and a laptop/PC, i.e., a lab computer, via the target’s standard debug header and the laptop/PC’s USB port.
The NXP RD-K358BMU board (the BMU board) has the S32K358 MCU soldered on it, and that MCU is based on the Arm Cortex-M7 core processor.

## Slide 4: Installation Guide to Debugger Driver
Introduction to the USB Multilink Universal LC

## Slide 5: Installation Guide to Debugger Driver
Introduction to the USB Multilink Universal LC

## Slide 6: Installation Guide to Debugger Driver
Multilink Debug Probe connections

## Slide 7: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
1. First, go to the Support & Downloads page of the PEmicro Multilink Debug Probes. https://www.pemicro.com/products/product_viewDetails.cfm?product_id=15320180&productTab=1000000.

## Slide 8: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
2. Scroll down and stop after reaching the Downloads section.

## Slide 9: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
3. Click on the link.

## Slide 10: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
4. If you already have an account with PEmicro, sign in using email address and password. Alternatively, insert your email address, and PEmicro will send a download link in the email inbox.

## Slide 11: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
5. Since you have never created a PEmicro account before, you will get the Email not found message. Just fill out the form and press Send me a download link.

## Slide 12: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
6. Next, open the email inbox and click on the download link.

## Slide 13: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
7. Save the executable.

## Slide 14: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
8. Execute it by double-clicking it.

## Slide 15: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
9. Press Yes.

## Slide 16: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
10. Press Install.

## Slide 17: Installation Guide to Debugger Driver
Installation Steps: USB Multilink Resources package
11. Installation is done. Press Close.

## Slide 18: Installation Guide to Debugger Driver
Access to Documentation
For further documentation, navigate to the file path where the Multilink is installed. For example, the default installation path is C:\PEMicro\Multilink_Resources

## Slide 19: Installation Guide to Debugger Driver
Access to Documentation
An overview of a few files is provided in the screenshot below.

## Slide 20: Thank you
20
McMaster Automotive Resource Centre (MARC)